## CLOAK
CLOAK AND LAUNDRY ROOM
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
SUBSTRUCTURE (ALL PROVISIONAL)
A | Excavate oversite to remove vegetable topsoil average 150mm deep and disposit materials in spoil heap average 20.00M away from excavations | 216 | Sq.m |  | 0
B | Excavate trench for Foundation exceeding 0.30m wide maximum depth not exceeding 1.00m deep commencing from stripped level. | 54 | Cu.m |  | 0
C | Backfilling selected excavated materials, well compacted and consolidated around foundation | 13 | Cu.m |  | 0
D | Remove, surplus excavated materials from site. | 41 | Cu.m |  | 0
E | Approved imported Laterite sand filling or equal and approved earthfilling to make up level in slab base and compacted in layers not exceeding 300mm thick. | 52 | Cu.m |  | 0
F | 150mm thick hardcore of approved materials well compacted on ditto to receive concrete blinding. | 172 | Sq.m |  | 0
Damp proof Membrane
G | 1000 gauge polythene single layer damp proof sheet membrane spread to lap 150mm all round (measured net) on concrete blinding. | 202 | Sq.m |  | 0
Concrete works
H | Plain in-situ concrete: (1:10) 50mm thick blinding to soffit of Ground Floor Slab | 202 | Sq.m |  | 0
J | Plain in-situ concrete (1:3:6 - 38mm aggregate) in footing | 21 | Cu.m |  | 0
K | Reinforced in-situ concrete packed around reinforcement in formwork (both measured separately ) in: Grade 25 (1:2:4) Ground Slab 150 - 300mm thick | 30 | Cu.m |  | 0
L | Fabric mesh reinforcement to BS4483 ref A142 weighing 2.22kg/m2 with 200mm side lap in bed | 202 | Sq.m |  | 0
Sawn formwork to:
M | Edge of ground slab not exceeding 150mm deep | 61 | M |  | 0
BRICK/BLOCK WALLING
Superior quality hollow sandcrete blockwall bedded and jointed in cement sand mortar (1:6) with cavities filled solid with plain in-situ concrete (1:4:8)
N | Wall 225mm thick | 89 | Sq.m |  | 0
P | Protect all works in this section |  | Item
SUBSTRUCTURE (ALL PROVISIONAL)
| Carried to Summary |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
ROOF [PROVISIONAL]
Covering
A | 0.55 guage Aluminium Step Tiles Roofing sheet obtainable from approved suppliers and nailed fixed to Wood carcass according to manufacturer's instructions. | 252 | Sq.m |  | 0
B | 600mm Ridge Piece | 21 | M | 0 | 0
C | Ditto Hip Claddings | 23 | M | 0 | 0
D | Ditto Eaves Claddings | 66 | M | 0 | 0
E | 300mm Fascial Claddings | 66 | M | 0 | 0
Sawn hardwood treated with wood preservatives
F | 75 x 100mm wall plate | 143 | M |  | 0
G | 50 x 150mm rafter | 222 | M |  | 0
H | 50 x 150mm tie beam | 187 | M | 0 | 0
J | 50 x 100mm struts and strusses | 207 | M |  | 0
K | 50 x 75mm purlin | 325 | M |  | 0
L | 50 x 50mmm Noggings | 394 | M |  | 0
M | Ditto Externally | 167 | M | 0 | 0
N | 25 x 300mm Fascial Board | 66 | M |  | 0
P | Protect all works in this section |  | Item
ROOF
| CARRIED TO SUMMARY |  |  |  | 0
EXTERNAL AND INTERNAL WALLS
Blockwork
Hollow sandcrete loadbearing blockwork and laid in cement
and sand mortar (1:6) mix.
Q | 230mm wall externally. | 186 | Sq.m |  | 0
R | Ditto internally. | 174 | Sq.m | 0 | 0
S | Ditto 150mm do. | 106 | Sq.m |  | 0
T | Protect all works in this section |  | Item
EXTERNAL AND INTERNAL WALLS
| Carried to Summary |  |  | =N= | 0
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
WINDOWS AND DOORS
WINDOWS
75mm wide approved profile quality in Natural Anodised powder coated Aluminium Casement Windows glazed with 8mm tinted glass to Manufacturals' detailed design and Architects/Client's Approval:
A | Overall size 2400 x 1200mm high | 5 | Nr |  | 0
B | Ditto 600 x 600mm high | 8 | Nr |  | 0
Approved Design Steel Burglar Proofing to Window openings
C | Overall size 2400 x 1200mm high | 5 | Nr |  | 0
D | Ditto 600 x 600mm high | 8 | Nr |  | 0
DOORS
Aluminium Swing Doors
E | 75mm thick profile high quality Natural Anodised Aluminium double leave, double swing Door overall size 1800mm wide x 2100mm high complete with locks and other ironmongery | 2 | Nr |  | 0
Timber Doors (Approved Quality, Imported) 45mm thick Approved type well polished wrought hardwood Flush door complete with ironmongery and fixed to hardwood door frame, necessary fittings and ironmongery.
F | Overall size 900 x 2100mm high | 7 | Nr |  | 0
G | Ditto 900 x 2100mm high do | 5 | Nr | 0 | 0
Concretework
Reinforced in situ concrete (1:2:4-19mm aggregate packed around reinforcement in formwork both measured separately) in
H | Lintels/Beams | 3 | Cu.m | 0 | 0
Reinforcement
High yield tensile steel reinforcement bar to BS 4461 including cutting, bending and tying wire, spacers etc.
J | 16mm diameter bars in lintel | 351 | kg |  | 0
K | 10mm diameter do | 146 | kg | 0 | 0
Sawn formwork to:
L | Sides and soffit of lintel size 230mm wide x 230mm deep | 48 | M |  | 0
M | Ditto 150 x 230mm deep do | 10 | M |  | 0
N | Protect all works in this section |  | Item
WINDOWS AND DOORS
| Carried to Summary |  |  | =N= | 0
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
FLOOR FINISHES
Tiling
300 x 300 x 8mm thick unglazed vitrified tiles (European/South Africa Sources Basic Cost at N2,500.00/Sq.m) laid on screeded bed (measured separately) on:
A | Laundry, Male/Female Cloakrooms and Toilets/Baths | 172 | Sq.m |  | 0
B | 12 x 100mm wide Skirting | 162 | M | 0 | 0
Beds and Backings
Cement and sand (1:4) screeded bed in:
C | 40mm thick to receive floor tiles | 172 | Sq.m |  | 0
D | 12mm thick backing not exceeding 100mm high to receive skirting | 16 | Sq.m |  | 0
FLOOR FINISHINGS
| Carried to Summary |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
WALL FINISHES
Internal works
Beds and Backings
15mm thick cement and sand (1:3) screeded backing to receive tiles on:
A | Wall | 144 | Sq.m |  | 0
B | Reveals, not exceeding 300mm girth | 20 | Sq.m |  | 0
Tiles
200 x 300 x 6mm thick approved colour glazed cushion edged wall tiles (European/South Africa Sources) laid and pointed neat in approved cement on: Basic Price N2,000.00 Per. Sq. Metre.
C | Wall | 144 | Sq.m |  | 0
D | Reveals, 200mm girth | 78 | M | 0 | 0
13mm thick cement and sand (1:3) smooth rendering on:
E | Wall Internally | 593 | Sq.m |  | 0
F | Ditto Externally | 324 | Sq.m | 0 | 0
G | Reveals,not exceeding 300mm girth | 33 | Sq.m |  | 0
Painting
Prepare and apply one undercoat and two finishing coats of high grade emulsion paint (Portland or Equal) on:
H | Wall Internally | 593 | Sq.m |  | 0
J | Ditto Externally | 324 | Sq.m | 0 | 0
K | Reveals,150 - 300mm girth | 165 | M |  | 0
L | Protect all works in this section |  | Item
WALL FINISHINGS
| Carried to Summary |  |  | =N= | 0
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
CEILING FINISHES
Internally
Gypsum plasterboard
A | Drop-level Gypsum plasterboard ceiling 9mm thick plaster board on suspended frame of timber hangers, smooth insitu P.O.P. rendering and brandering joints sealed by tapping with scrim paper smooth finish with rhinoset and painted white. | 172 | Sq.m |  | 0
B | 50mm insitu coved P.O.P Cornices in approved design, finished fair and painted | 215 | M |  | 0
C | Protect all works in this section |  | Item
CEILING FINISHINGS
| Carried to Summary |  |  | =N= | 0
FITTINGS AND FIXTURES
Construct and finish well seasoned Akala or equal and approved hardwood polished complete with ironmongery to approved design.
D | Wardrobes overall size 7000mm wide x 600mm deep x 2850mm high | 2 | Nr |  | 0
E | Protect all works in this section |  | Item
FITTINGS AND FIXTURES
| Carried to Summary |  |  | =N= | 0
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
PLUMBING/MECHANICAL INSTALLATIONS
Supply and fix the following sanitary wares in Armitage shanks as
obtainable from Portland Products or equal and approved.
A | Water Closet complete with cistern, siphone, flexible connectors, bolt and screw and other accessories. | 5 | Nr |  | 0
B | Wash Hand Basin with mixer tap complete with bottle trap, flexible connector,bolt and nuts and waste and pedal stand etc | 2 | Nr |  | 0
C | Shower tray 1100 x 1100mm complete with shower head, control, waste etc | 5 | Nr |  | 0
D | Wall mounted Toilet Roll Holder with chrome plated frame and plastic roller. | 2 | Nr |  | 0
E | 200mm Diameter plastic floor drain | 2 | Nr |  | 0
F | Soap Holder | 2 | Nr |  | 0
G | Pilkington or other approved mirror size 600 x 900mm complete with clips, screws and mounting to wall. | 2 | Nr |  | 0
H | Stainless steel towel rail | 2 | Nr |  | 0
Water and Sanitary Pipework
J | Include the Provisional Sum of N350,000.00 [Three Hundred and Fifty Thousand Naira] only for Foul waste, Sanitary Drainage and Cold Water Supply and distribution pipework and accessories to be expended complete to Engineers detailed design and Site instructions. |  | P.S
Builders works
K | Allow for all Builders works in connection with the Plumbing Installations. |  | Sum
L | Protect all works in this section |  | Item
PLUMBING/MECHANICAL INSTALLATIONS
| Carried to Summary |  |  | =N= | 0
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
ELECTRICAL INSTALLATIONS (All Provisional)
Electrical Mains Installations
A | Provide the Prime Cost Sum of N1,500,000.00 (One Million, Five Hundred Thousand Naira) only for Electrical Installations works as may be required to be executed completely by a Nominated Sub - Contractor as per Project Managers Instruction. |  | P.C.
B | Add for Main Contractor's Profit. |  | 5% |  | 0
C | Allow for General Attendance. |  | 2.5% |  | 0
Builders works
D | Allow for all Builders works in connection with the Electrical Installations. |  | Sum
Testing and commissioning
E | Allow for Testing and Commissioning the Electrical Installations works. |  | Sum
F | Allow for pre and post installation makings and As-built Drawings |  | Sum
G | Protect all works in this section |  | Item
ELECTRICAL INSTALLATIONS
| Carried to Summary |  |  | =N= | 0
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
SUMMARY
| SUBSTRUCTURE |  |  |  | 0
| ROOF |  |  |  | 0
| EXTERNAL AND INTERNAL WALLS |  |  |  | 0
| WINDOWS AND DOORS |  |  |  | 0
| FLOOR FINISHES |  |  |  | 0
| WALL FINISHES |  |  |  | 0
| CEILING FINISHES |  |  |  | 0
| FITTINGS AND FIXTURES |  |  |  | 0
| PLUMBING INSTALLATIONS |  |  |  | 0
| ELECTRICAL INSTALLATIONS |  |  |  | 0
CLOAK AND LAUNDRY ROOM
| Carried to General Summary |  |  | =N= | 0

## EXT WRK
EXTERNAL WORKS - ALL PROVISIONAL
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
Septic Tank/Soakaway Pit
A | Construct Septic tank/Soakaway Pit overall size approximately 2500mm long x 1500mm wide x 2000mm deep in 50mm thick concrete blinding, 150mm thick Plain concrete mix 1:3:6 - 19mm aggregate in base,Blockwall filled solid wall, 4 number reinforced precast concrete cover approximately 900mm long x 900mm wide x 120mm thick reinforced with 12mm diameter high tensile bars at 150mm centres both ways, and slab bedded and pointed in cement sand mortar [1:4], 15mm thick rendering on internal surfaces of walls, 50mm thick cement and sand screeded bed [1:4] trowelled smooth, complete with all earthworks, and the likes all constructed to Structural Engineers' detailed drawings | 1 | Nr |  | 0
Inspection Chambers
B | Construct drainage inspection chambers approximately 600 x 450 x 350mm deep external dimension including all necessary haunching, concrete cover, finishes, connection to drainage pipes and all necessary earth works | 15 | Nr |  | 0
Pipeworks
C | Include Provisional Sum of N350,000.00 (Three Hundred and Fifty Thousand Naira) only for external Foul waste, Sanitary Drainage, Cold Water Supply and distribution pipework and accessories laid in trenches and including all excavations, earthworks etc. complete with jointing accessories to be expended complete to Engineers detailed design and Site instructions. |  | P S
D | Protect all works in this section |  | Item
EXTERNAL WORKS
| Carried to Summary |  |  | =N= | 0

## GS
GRAND SUMMARY
PRELIMINARIES
| CLOAK AND LAUNDRY ROOM |  | 0
| EXTERNAL WORKS |  | 0
0
| ADD: CONTINGENCIES | 5% | 0
0
| ADD: V.A.T. | 7.5% | 0
GRAND TOTAL
| CARRIED TO FORM OF TENDER |  | 0