## BOILER ROOM
RAW MATERIALS WAREHOUSE
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
SUBSTRUCTURE (ALL PROVISIONAL)
Excavation and Earthworks
Oversite Excavation
A | Excavate oversite to remove vegetable topsoil average 150mm deep and disposit materials in spoil heap average 20.00M away from excavations | 72 | Sq.m |  | 0
B | Excavate trench for Strip Foundation exceeding 0.30m wide maximum depth not exceeding 1.00m deep commencing from stripped level. | 11 | Cu.m |  | 0
C | Ditto Column Bases do | 4 | Cu.m | 0 | 0
D | Ditto for Steps/Ramps not exceeding 250mm deep | 3 | Cu.m | 0 | 0
E | Backfilling selected excavated materials, well compacted and consolidated around foundation | 12 | Cu.m |  | 0
F | Remove, surplus excavated materials from site. | 6 | Cu.m |  | 0
G | Approved imported Laterite or equal and approved earthfilling to make up level in slab base and compacted in layers not exceeding 150mm thick. | 8 | Cu.m |  | 0
Damp proof Membrane
H | 1000 gauge polythene single layer damp proof sheet membrane spread to lap 150mm all round (measured net) on concrete blinding. | 64 | Sq.m |  | 0
Concrete works
Plain in-situ concrete (1:10) in all aggregates mix in:
J | 50mm thick blinding on excavated surface to base of ground floor slab | 64 | Sq.m |  | 0
K | Ditto but under Column Bases | 14 | Sq.m | 0 | 0
L | Plain In-situ Concrete mix 1:3:6 - 19mm Aggregates in Strip Foundation poured against faces of excavation 150 - 300mm thick | 4 | Cu.m |  | 0
Reinforced in-situ concrete (1:2:4 -19mm aggregate) packed around reinforcement in formwork (both measured separately ) in:
M | Ground Slab 150mm thick | 10 | Cu.m |  | 0
N | Ditto Column Bases | 4 | Cu.m | 0 | 0
P | Ditto Stub Columns | 0.34 | Cu.m | 0 | 0
Q | Ditto Concrete Plinth Base 150mm thick | 2 | Cu.m | 0 | 0
R | Ditto for Steps/Ramps not exceeding 150mm deep | 1 | Cu.m | 0 | 0
| Carried to collection |  |  | =N= | 0
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
Reinforcement
High yield tensile steel bar reinforcement to BS 4461 including
cutting, bending and tying wire in
A | 16mm in Stub Columns Starter Bars. | 121 | kg |  | 0
B | Ditto Edges of Plinth Base | 186 | kg | 0 | 0
C | 12mm diameter bars in Column Bases | 85 | kg | 0 | 0
D | 10mm in Stub Columns Starter Bars. | 21 | kg | 0 | 0
E | BRC mesh fabric Reinforcement Ref A252 weighing 3.95kg/m2 laid with side and end laps [measured net] in ground slab. | 64 | Sq.m |  | 0
F | Ditto Steps/Ramps do. | 9 | Sq.m | 0 | 0
Formwork
Sawn formwork to:
G | Vertical sides of Stub Columns 225 x 225mm do | 6 | M |  | 0
H | Edge of ground slab not exceeding 150mm deep | 36 | M |  | 0
J | Ditto Steps/Ramps | 9 | M | 0 | 0
K | Ditto Edges of Plinth Base | 18 | M | 0 | 0
L | Ditto Column Bases 300mm high | 42 | M |  | 0
M | 230mm hollow Sandcrete blockwalling laid in approved bond, bedded and pointed in cement and sand [1:4] mortar and cavities filled solid with lean concrete mix 1:3:6 - 12mm aggregates | 18 | Sq.m |  | 0
N | Allow for protecting all works in this section |  | Item
| Carried to collection |  |  | =N= | 0
COLLECTION
| Page No. RMW/01 |  |  |  | 0
| Page No. RMW/02 |  |  |  | 0
SUBSTRUCTURE (ALL PROVISIONAL)
| Carried to Summary |  |  | =N= | 0
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
WALLS
Hollow Clay Perforated Screen Wall - Provisionals
A | 320 x 100 x 160mm high Hollow Double Straight Octagonal 01 Engineering Screen Wall from Clay Industry, Oregun or any other approved Manufacturers. | 14 | Sq.m |  | 0
B | 230mm hollow Sandcrete blockwalling laid in approved bond, bedded and pointed in cement and sand [1:4] mortar joints. | 159 | Sq.m |  | 0
Conrete Works
Reinforced in situ concrete, mix 1:2:4 - 19mm aggregates (20N/mm2 Strenght) packed around reinforcement in formwork (Both measured separately) in:
C | Columns | 2 | Cu.m | 0 | 0
Reinforcement
High yield tensile steel reinforcement bar to BS 4461
including cutting, bending and tying wire, spacers etc
D | 16mm diameter in Columns | 258 | kg | 0 | 0
E | 10mm diameter bars in Columns | 111 | kg | 0 | 0
Sawn formwork to:
F | Ditto 225 x 225mm do | 41 | M | 0 | 0
Lintels
G | Precast Reinforced in situ concrete mix 1:2:4-19mm aggregate in Lintels complete formwork, reinforcements and cast in position approximately 2850 x 230 x 100mm thick. | 1 | Nr |  | 0
H | Ditto 1450 x 230 x 100mm thick. | 1 | Nr |  | 0
J | Allow for protecting all works in this section |  | Item
WALLS
| Carried to Summary |  |  | =N= | 0
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
ROOF [PROVISIONAL]
Covering
A | 0.7mm gauge Long span Aluminium Roofing in approved and matching colour fixed on Timber members in roof with side laps in accordance with Manufacturers' details | 83 | Sq.m |  | 0
Sawn hardwood treated with wood preservatives
B | 50 x 100mm wall plates | 36 | M |  | 0
C | Ditto Rafters | 98 | M | 0 | 0
D | Ditto Struts and Strusses | 124 | M | 0 | 0
E | Ditto Purlins | 105 | M | 0 | 0
F | 50 x 50mmm noggings - Internally | 203 | M |  | 0
G | Ditto Externally | 79 | M | 0 | 0
H | 25 x 300mm Fascial Board | 39 | M |  | 0
Painting
J | Approved Emulsion paint on Fascial Board | 12 | Sq.m |  | 0
K | Allow for protecting all works in this section |  | Item
ROOF
| CARRIED TO SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
DOORS
Metal Roller Shutter Doors
A | Well fabricated Roller Shutter Security steel Door overall size 2400 x 2850mm high complete with all approved necessary accessories and fixed in accordance to manufacturers' fixing details. | 1 | Nr |  | 0
Metal Doors
B | Well fabricated double leave Security steel Door overall size 1000 x 2100mm high including standard gauge single rebated mild steel hollow section frame, 6 pair standard steel butt hinges, and set of approved quality ironmongery, finished and painted in quality gloss Paint. | 1 | Nr |  | 0
Entrance Canopy
C | Include the Provisional Sum of N150,000.00 [One Hundred and Fifty Thousand Naira] only for Entrance Canopy works and as may become necessary |  | P.S
D | Protect all works in this section |  | Item
DOORS
| Carried to Summary |  |  | =N= | 0
FLOOR FINISHES
Hand Trowelled:
E | 50mm thick Hand Trowelled floors Screed in cement and sand mortar (1:3) screeded | 56 | Sq.m |  | 0
F | Protect all works in this section |  | Item
FLOOR FINISHES
| Carried to Summary |  |  |  | 0
WALL FINISHES
12mm thick cement and sand (1:3) smooth rendering on:
G | Wall Internally | 120 | Sq.m |  | 0
H | Ditto Externally | 160 | Sq.m | 0 | 0
J | Reveals,not exceeding 300mm girth | 3 | Sq.m |  | 0
K | Protect all works in this section |  | Item
WALL FINISHINGS
| Carried to Summary |  |  | =N= | 0
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
CEILING FINISHES
Internally
P.V.C. Ceiling
A | Fix approved White or approved colour P.V.C. ceiling strips in ceiling nailed to noggins [Measured Seperately] | 56 | Sq.m |  | 0
B | Ditto Externally do. | 16 | Sq.m | 0 | 0
C | Protect all works in this section |  | Item
CEILING FINISHINGS
| Carried to Summary |  |  | =N= | 0
ELECTRICAL INSTALLATIONS (All Provisional)
Mains Supply
[ABB or other approved quality]
D | Include the Prime Cost Sum of N100,000.00 [One Hundred Thousand Naira] only for Electrical Installations to be executed completely by a Nominated Sub - Contractor |  | P.C.
E | Add for Profit |  | 5% |  | 0
F | Allow for Attendance |  | Sum |  | 0
Builders works
G | Allow for all Builders works in connection with the Electrical Installations. |  | Sum
Testing and commissioning
H | Allow for Testing and Commissioning the Electrical Installations works. |  | Sum
J | Allow for pre and post installation makings and As-built Drawings |  | Sum
K | Protect all works in this section |  | Item
ELECTRICAL INSTALLATIONS
| Carried to Summary |  |  | =N= | 0
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT
SUMMARY
| SUBSTRUCTURE |  |  |  | 0
| WALLS |  |  |  | 0
| ROOF |  |  |  | 0
| DOORS |  |  |  | 0
| FLOOR FINISHES |  |  |  | 0
| WALL FINISHES |  |  |  | 0
| CEILING FINISHINGS |  |  |  | 0
| ELECTRICAL INSTALLATIONS |  |  |  | 0
| BOILER ROOM - 1 NR BOILER |  |  | =N= | 0
Carried to General Summary
GENERAL SUMMARY
| PRELIMINARIES |  | PR
| BOILER ROOM - 1 NR BOILER |  | 1BM/07 |  | 0
| SUB TOTAL |  |  |  | 0
| ADD: CONTINGENCIES |  | 5% |  | 0
0
| ADD: V.A.T. |  | 7.5% |  | 0
GRAND TOTAL
| CARRIED TO FORM OF TENDER |  |  |  | 0

## COVER
PROPOSED BOILER ROOM
FOR
LIVESTOCK FEEDS PLC.
AT
ABA PLANT
ABIA STATE.
BILLS OF QUANTITIES
(1 NR BOILER MACHINES)
CLIENTS: |  | LIVESTOCK FEEDS PLC.
ARCHITECTS: |  | SILVERLINE MULTIDYNAMIC LIMITED
(Architectural, 3D Consultants & Interiors)
4b, Idowu Olaitan Street,
Gbagada Phase 2 Estate
Lagos State.
Tel: +234(0)8038627326, (0)8178372797
E-mail: mopelasisi@yahoo.com
STRUCTURAL ENGINEERS: |  | AVIDSON NIGERIA LIMITED
(Consulting Engineers)
14, Victoria Street
Off Ogudu Road
Lagos
Tel: +234(0)8024069504
E-mail:
QUANTITY SURVEYORS: |  | ABIDELYON AND ASSOCIATES
(Quantity Surveyors, Project Managers, Construction Services)
6, Alade Avenue, Balogun,
Ikeja, Lagos State.
Tel: +234(0)8035146378, (0)8056513678
E-mail: bideade@yahoo.com